Equipment list for the methane and CO2 sensor by Jonas Stage Sø @ https://github.com/JonasStage/Methane-and-CO2-sensor/

Links are provided for all items, but for most items they can be bought at multiple places. For the methane sensor and connector, a Figaro distributor should be contacted, whereas for the CO2 sensor a SenseAir distributor should be contacted.

|  | Needed per sensor | € (euro) |  | Link | Notes |
| --- | --- | --- | --- | --- | --- |
| 2 GB SD card | 1 | 10.7 | 2 GB SD card | https://dk.rs-online.com/web/p/sd-kort/1805789 |  |
| CO2 sensor | 1 | 70.0 | K33-ELG SenseAir | https://senseair.com/products/flexibility-counts/k33-elg/ |  |
| Pin headers | 1 | 0.61 |  | https://dk.rs-online.com/web/p/printstiftlister/2001483 | Headers to connect the CO2 sensor to the PCB. |
| Figaro methane sensor | 1 | 5.39 | TGS2611-E00 | https://www.figarosensor.com/product/entry/tgs2611-e00.html |  |
| Figaro connector | 1 | 1.74 | SR-6 | https://www.figarosensor.com/product/entry/sr6.html |  |
| Air pump | 1 | 18.6 | Orion ODB5515-12LB | https://dk.rs-online.com/web/p/blaesere/1444135/ |  |
| PCB with components | 1 | 15 | Price depends on number of PCB bought | https://jlcpcb.com/ | A minimum of 5 must be bought. |
| Coin cell battery | 1 | 0.2 | Lithium Coin Cell CR1220 | https://dk.rs-online.com/web/p/knapcellebatterier/8660653 |  |
| Screw | 2 | 0.5 | to hold CO2 sensor | https://dk.rs-online.com/web/p/maskinskruer/2326918 |  |
| Bolt | 2 | 0.3 | to hold CO2 sensor | https://dk.rs-online.com/web/p/sekskantmotrikker/2326936 |  |
| Spacer | 2 | 0.4 | Spacer to hold CO2 sensor | https://dk.rs-online.com/web/p/afstandsstykker/1363728 |  |
| Wire |  | 4.17 | Wire for power | https://dk.rs-online.com/web/p/styrekabel/0409258 | Rubber sheating is prefered for water, but any can do. Buy the length you want/need |
| Connector to battery |  |  |  |  | If you want a certain connector from the power cable to the battery, you should also buy that. A possible solution is XT60 |
| Battery | 1 | 168.3 | 12.8V 12Ah LiFePO4 battery | https://dk.rs-online.com/web/p/genopladelige-batteripakker/1828654?gb=b | Price depending on battery size. Here a standard 12 Ah battery is reported |
| Total no battery |  | 127 |  |  |  |
| Total |  | 295.3 |  |  |  |

Prices may change over time.